**Table 3: Considerations for Standardizing Machinery**

|  |  |
| --- | --- |
| Advantages | Disadvantages |
| Providers can transition easily between and within departments  | May not meet specialized needs for certain departments (musculoskeletal evaluations for rheumatology clinic, advanced obstetric software for labor floor, surgical procedures in the operating room) |
| Standardized machine presets for CUS applications across platforms | Standardized machine may have too many or too few options for user |
| Cost benefit when making a large or bulk purchase | Autonomy of choiceMay be a more expensive option than necessary  |
| Ease of integration with system informatics and workflow solutions (Middleware, EMR, PACS) |  |